## Model
|  | PEACH | box is an input to the model
|  | BLUE | shows the range of possible values where choices are to be made or there is uncertainty (parametric model)
Years show end of year; Year 0 = now
All values are nominal (base 2014) unless indicated otherwise
Scenario
| 1 | Imported Coal, Full Capex, Best of Open Category Solar
| 2 | Imported Coal, Marginal Costs, Domestic Category Solar
| 3 | Domestic Coal, Marginal Costs, Domestic Category Solar
| 4 | Domestic Coal, Full Capex, Open Category Solar
| 5 | Manual
| Chosen Scenario |  | 4 | < - choose one of the above 5
LCOE | Results |  | [Rs.kWh]
|  | Levelizing (discount) rate | Solar | Coal - Domestic | Coal - Imported | (only one of the 2 coal sources applies per scenario above)
|  | 6% | 6.9487 | 5.1461 | 5.1322
|  | 7% | 6.9597 | 5.0143 | 5.0691
|  | 8% | 6.9731 | 4.8903 | 5.0094
|  | 9% | 6.9886 | 4.7742 | 4.9531
|  | 10% | 7.0061 | 4.6656 | 4.9002
|  | 11% | 7.0254 | 4.5645 | 4.8506
|  | 12% | 7.0464 | 4.4705 | 4.8042 |  |  |  |  | <-
[7 empty] | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Scenario -> | 1 | 2 | 3 | 4 | 5 | value used
1 | [5 empty] | 61.5 | Forex Base Rate | 1: [Rs./US$]
2 | 0.01 | 0 | 0 | 0 | -0.01 | 0 | Annual Forex Escalation Rate
[7 empty] | -0.02 | 0: -0.01; 1: 0; <- 2: 0.01
3 | [6 empty] | Forex Rate over Time
[7 empty] | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
[8 empty] | 61.5 | 61.5 | 61.5 | 61.5 | 61.5 | 61.5 | 61.5 | 61.5 | 61.5 | 61.5 | 61.5 | 61.5 | 61.5 | 61.5 | 61.5 | 61.5 | 61.5 | 61.5 | 61.5 | 61.5 | 61.5 | 61.5 | 61.5 | 61.5 | 61.5 | 61.5
4 |  |  |  |  | 10% | 10% | Discount Rate
6%
7%
8%
9%
10%
11%
12%
5 | [6 empty] | Annual INFLATOR for Future Values (FV)
[7 empty] | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
[6 empty] | Discount Rate | 6% | 1 | 1.06 | 1.1236 | 1.191 | 1.2625 | 1.3382 | 1.4185 | 1.5036 | 1.5938 | 1.6895 | 1.7908 | 1.8983 | 2.0122 | 2.1329 | 2.2609 | 2.3966 | 2.5404 | 2.6928 | 2.8543 | 3.0256 | 3.2071 | 3.3996 | 3.6035 | 3.8197 | 4.0489 | 4.2919
[7 empty] | 7% | 1 | 1.07 | 1.1449 | 1.225 | 1.3108 | 1.4026 | 1.5007 | 1.6058 | 1.7182 | 1.8385 | 1.9672 | 2.1049 | 2.2522 | 2.4098 | 2.5785 | 2.759 | 2.9522 | 3.1588 | 3.3799 | 3.6165 | 3.8697 | 4.1406 | 4.4304 | 4.7405 | 5.0724 | 5.4274
[7 empty] | 8% | 1 | 1.08 | 1.1664 | 1.2597 | 1.3605 | 1.4693 | 1.5869 | 1.7138 | 1.8509 | 1.999 | 2.1589 | 2.3316 | 2.5182 | 2.7196 | 2.9372 | 3.1722 | 3.4259 | 3.7 | 3.996 | 4.3157 | 4.661 | 5.0338 | 5.4365 | 5.8715 | 6.3412 | 6.8485
[7 empty] | 9% | 1 | 1.09 | 1.1881 | 1.295 | 1.4116 | 1.5386 | 1.6771 | 1.828 | 1.9926 | 2.1719 | 2.3674 | 2.5804 | 2.8127 | 3.0658 | 3.3417 | 3.6425 | 3.9703 | 4.3276 | 4.7171 | 5.1417 | 5.6044 | 6.1088 | 6.6586 | 7.2579 | 7.9111 | 8.6231
[7 empty] | 10% | 1 | 1.1 | 1.21 | 1.331 | 1.4641 | 1.6105 | 1.7716 | 1.9487 | 2.1436 | 2.3579 | 2.5937 | 2.8531 | 3.1384 | 3.4523 | 3.7975 | 4.1772 | 4.595 | 5.0545 | 5.5599 | 6.1159 | 6.7275 | 7.4002 | 8.1403 | 8.9543 | 9.8497 | 10.8347
[7 empty] | 11% | 1 | 1.11 | 1.2321 | 1.3676 | 1.5181 | 1.6851 | 1.8704 | 2.0762 | 2.3045 | 2.558 | 2.8394 | 3.1518 | 3.4985 | 3.8833 | 4.3104 | 4.7846 | 5.3109 | 5.8951 | 6.5436 | 7.2633 | 8.0623 | 8.9492 | 9.9336 | 11.0263 | 12.2392 | 13.5855
[7 empty] | 12% | 1 | 1.12 | 1.2544 | 1.4049 | 1.5735 | 1.7623 | 1.9738 | 2.2107 | 2.476 | 2.7731 | 3.1058 | 3.4785 | 3.896 | 4.3635 | 4.8871 | 5.4736 | 6.1304 | 6.866 | 7.69 | 8.6128 | 9.6463 | 10.8038 | 12.1003 | 13.5523 | 15.1786 | 17.0001
6 | 9% | 8% | 8% | 8% | 8% | 8% | Domestic Escalation Rate (annual)
[7 empty] | 6% | 0: 7%; 1: 8%; 2: 9%; 3: 10%
SOLAR POWER
7 | [5 empty] | 20% | Solar Base PLF (Plant Load Factor)
8 | [5 empty] | 0.5% | Solar PLF Degredation | 2: [RELATIVE % fall per annum]
9 | [6 empty] | Solar PLF over time | 2: [conservative - assumes degradation starts after one full year only]
[7 empty] | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
[9 empty] | 0.2 | 0.199 | 0.19801 | 0.19701 | 0.19603 | 0.19505 | 0.19407 | 0.1931 | 0.19214 | 0.19118 | 0.19022 | 0.18927 | 0.18832 | 0.18738 | 0.18645 | 0.18551 | 0.18459 | 0.18366 | 0.18274 | 0.18183 | 0.18092 | 0.18002 | 0.17912 | 0.17822 | 0.17733
10 | [6 empty] | Solar kWh per year per MW
[7 empty] | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
[9 empty] | 1752000 | 1743240 | 1734523.8 | 1725851.181 | 1717221.9251 | 1708635.8155 | 1700092.6364 | 1691592.1732 | 1683134.2123 | 1674718.5413 | 1666344.9486 | 1658013.2238 | 1649723.1577 | 1641474.5419 | 1633267.1692 | 1625100.8334 | 1616975.3292 | 1608890.4526 | 1600846.0003 | 1592841.7703 | 1584877.5614 | 1576953.1736 | 1569068.4078 | 1561223.0657 | 1553416.9504
11 | 0 | 0.3 | 0.3 | 0.3 | 0.25 | 0.3 | Base Ancillary Services Burden from Solar | 2: [Rs./kWh]
[7 empty] | 0 | 0: 0.25; 1: 0.3; 2: 0.35
12 | [6 empty] | Ancillary Services Yearly burden | 2: [Rs./kWh]
[7 empty] | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
[8 empty] | 0.3 | 0.324 | 0.34992 | 0.37791 | 0.40815 | 0.4408 | 0.47606 | 0.51415 | 0.55528 | 0.5997 | 0.64768 | 0.69949 | 0.75545 | 0.81589 | 0.88116 | 0.95165 | 1.0278 | 1.11 | 1.1988 | 1.2947 | 1.3983 | 1.5102 | 1.631 | 1.7614 | 1.9024 | 2.0545
13 | [5 empty] | 5.5 | Solar Generation price paid by utilities | [Rs./kWh] 2: [Rs./kWh]; [Rs./kWh] 3: nominal
14 | [5 empty] | 0.25 | Solar Operations cost paid by utilities | [Rs./kWh] 2: [Rs./kWh]; [Rs./kWh] 3: nominal
15 | [6 empty] | Solar annual cash flow for production | [Rs./kWh] 2: [Rs./year per MW]
[7 empty] | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
[9 empty] | 10074000 | 10023630 | 9973511.85 | 9923644.2908 | 9874026.0693 | 9824655.9389 | 9775532.6593 | 9726654.996 | 9678021.721 | 9629631.6124 | 9581483.4543 | 9533576.037 | 9485908.1569 | 9438478.6161 | 9391286.223 | 9344329.7919 | 9297608.1429 | 9251120.1022 | 9204864.5017 | 9158840.1792 | 9113045.9783 | 9067480.7484 | 9022143.3447 | 8977032.6279 | 8932147.4648
16 | 0.175 | 2.1292 | 2.1292 | 1.0654 | 2.456 | 1.0654 | VGF Bids | [Rs./year per MW] 2: [Rs. Cr./MW]
[8 empty] | Domestic Content | Open
[7 empty] | High | 0: 2.456; 1: 1.35
[7 empty] | Med | 0: 2.1292; 1: 1.0654
[7 empty] | Low | 0: 1.35; 1: 0.175
17 | [6 empty] | VGF Outflow rate (fraction) [as prescribed]
[7 empty] | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
[8 empty] | 0.5 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | [6 empty] | VGF Cash Flow | 2: [Rs. /MW]
[7 empty] | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
[8 empty] | 5327000 | 1065400 | 1065400 | 1065400 | 1065400 | 1065400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | [6 empty] | Total Annual Solar Cost | [Rs. /MW] 2: [Rs. /MW]; [Rs. /MW] 3: nominal
[7 empty] | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
[8 empty] | 5327000 | 11707048 | 11699024.5408 | 11694411.9835 | 11693444.7343 | 11696374.7859 | 10638073.0298 | 10649630.6651 | 10665960.713 | 10687399.6445 | 10714309.129 | 10747077.9137 | 10786123.8431 | 10831896.0293 | 10884877.1837 | 10945586.1238 | 11014580.4653 | 11092459.5166 | 11179867.3883 | 11277496.3354 | 11386090.3477 | 11506449.0093 | 11639431.6456 | 11785961.7787 | 11947031.9172 | 12123708.701
20 | [6 empty] | Solar LCOE numerator (discounted cash) annual | [Rs. /MW] 2: [Rs.]
[7 empty] | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
[6 empty] | Discount Rate | 6% | 5327000 | 11044384.9057 | 10412090.193 | 9818853.8051 | 9262303.4754 | 8740211.6517 | 7499421.7123 | 7082612.6313 | 6691955.7036 | 6325855.4287 | 5982814.2559 | 5661426.5794 | 5360373.1018 | 5078415.5434 | 4814391.6755 | 4567210.6587 | 4335848.6668 | 4119344.7792 | 3916797.1252 | 3727359.2647 | 3550236.7912 | 3384684.1422 | 3230001.6068 | 3085532.5147 | 2950660.5998 | 2824807.524
[7 empty] | 7% | 5327000 | 10941166.3551 | 10218381.117 | 9546123.6737 | 8920873.0001 | 8339353.5724 | 7088597.2398 | 6632054.7478 | 6207686.2439 | 5813237.2871 | 5446611.4615 | 5105859.299 | 4789167.9802 | 4494851.7554 | 4221343.0382 | 3967184.1232 | 3731019.4838 | 3511588.6102 | 3307719.3495 | 3118321.7122 | 2942382.1136 | 2778958.0177 | 2627172.9576 | 2486211.9045 | 2355316.9609 | 2233783.3567
[7 empty] | 8% | 5327000 | 10839859.2593 | 10030027.8985 | 9283401.2723 | 8595030.9617 | 7960356.1455 | 6703790.5119 | 6213957.2062 | 5762486.6966 | 5346360.6335 | 4962798.2179 | 4609237.5052 | 4283318.1806 | 3982865.6902 | 3705876.6211 | 3450505.2315 | 3215051.042 | 2997947.4025 | 2797750.9596 | 2613131.9526 | 2442865.2734 | 2285822.2301 | 2140962.9585 | 2007329.431 | 1884039.0161 | 1770278.5443
[7 empty] | 9% | 5327000 | 10740411.0092 | 9846834.8967 | 9030231.7427 | 8283931.0539 | 7601841.0793 | 6343135.3686 | 5825712.6687 | 5352886.0222 | 4920775.6871 | 4525839.9645 | 4164845.737 | 3834841.5755 | 3533133.19 | 3257261.0195 | 3004979.7755 | 2774239.7677 | 2563169.8586 | 2370061.902 | 2193356.5391 | 2031630.2319 | 1883583.4266 | 1748029.7492 | 1623886.1424 | 1510163.8617 | 1405960.257
[7 empty] | 10% | 5327000 | 10642770.9091 | 9668615.323 | 8786184.8111 | 7986780.0931 | 7262528.507 | 6004914.8913 | 5464944.4319 | 4975749.3897 | 4532500.7358 | 4130829.9856 | 3766785.246 | 3436791.4601 | 3137614.4447 | 2866328.3618 | 2620286.2937 | 2397093.6278 | 2194583.9803 | 2010797.4198 | 1843960.7674 | 1692469.7783 | 1554873.024 | 1429857.3123 | 1316234.4993 | 1212929.5597 | 1118969.7962
[7 empty] | 11% | 5327000 | 10546890.0901 | 9495190.7644 | 8550853.2517 | 7702834.2409 | 6941229.1502 | 5687548.259 | 5129484.1827 | 4628242.9619 | 4177969.2633 | 3773413.376 | 3409868.4985 | 3083114.5229 | 2789367.6417 | 2525235.175 | 2287675.0765 | 2073959.634 | 1881642.93 | 1708531.672 | 1552659.0453 | 1412261.2723 | 1285756.6012 | 1171726.4697 | 1068898.6197 | 976131.9614 | 892403.0035
[7 empty] | 12% | 5327000 | 10452721.4286 | 9326390.7372 | 8323851.4597 | 7431395.5274 | 6636837.1681 | 5389578.8663 | 4817352.075 | 4307802.6423 | 3853983.4528 | 3449720.7881 | 3089528.0891 | 2768529.3399 | 2482391.0001 | 2227261.5297 | 1999717.6622 | 1796716.67 | 1615553.9556 | 1453825.3727 | 1309393.7509 | 1180359.1533 | 1065032.4521 | 961911.8511 | 869662.0261 | 787095.5914 | 713156.6335
21 | [6 empty] | Solar LCOE numerator summation | [Rs.] 2: [Rs.]
[6 empty] | Discount Rate | 6% | 0: 148794594.3359
[7 empty] | 7% | 0: 136151965.3611
[7 empty] | 8% | 0: 125212050.8419
[7 empty] | 9% | 0: 115697742.5268
[7 empty] | 10% | 0: 107382394.6489
[7 empty] | 11% | 0: 100079887.664
[7 empty] | 12% | 0: 93636769.223
22 | [6 empty] | Solar LCOE denominator (discounted energy) annual | [Rs.] 2: [kWh]
[7 empty] | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
[6 empty] | Discount Rate | 6% |  | 1652830.1887 | 1551477.3941 | 1456339.6294 | 1367035.7842 | 1283208.1182 | 1204520.8279 | 1130658.7016 | 1061325.8567 | 996244.5542 | 935154.0863 | 877809.7319 | 823981.7767 | 773454.5922 | 726025.7729 | 681505.3246 | 639714.9037 | 600487.103 | 563664.7807 | 529100.4309 | 496655.5932 | 466200.2974 | 437612.5433 | 410777.8118 | 385588.6064 | 361944.022
[7 empty] | 7% |  | 1637383.1776 | 1522613.3287 | 1415888.0954 | 1316643.6027 | 1224355.4997 | 1138536.189 | 1058732.2505 | 984522.046 | 915513.4914 | 851341.985 | 791668.4814 | 736177.7 | 684576.4593 | 636592.128 | 591971.1845 | 550477.8772 | 511892.9792 | 476012.6302 | 442647.2589 | 411620.5819 | 382768.672 | 355939.0922 | 330990.0904 | 307789.8504 | 286215.7955
[7 empty] | 8% |  | 1622222.2222 | 1494547.3251 | 1376920.9153 | 1268552.1395 | 1168712.3878 | 1076730.3943 | 991987.7244 | 913914.6165 | 841986.1513 | 775718.7227 | 714666.7862 | 658419.8632 | 606599.7814 | 558858.1319 | 514873.9271 | 474351.4421 | 437018.2267 | 402623.2737 | 370935.3309 | 341741.3465 | 314845.0368 | 290065.5663 | 267236.3319 | 246203.8429 | 226826.6886
[7 empty] | 9% |  | 1607339.4495 | 1467250.2315 | 1339370.6241 | 1222636.4872 | 1116076.4264 | 1018803.7103 | 930008.8915 | 848953.0707 | 774961.748 | 707419.2103 | 645763.4076 | 589481.2758 | 538104.4673 | 491205.4541 | 448393.9696 | 409313.7612 | 373639.6261 | 341074.7045 | 311348.0101 | 284212.1744 | 259441.3885 | 236829.5244 | 216188.419 | 197346.3091 | 180146.4015
[7 empty] | 10% |  | 1592727.2727 | 1440694.2149 | 1303173.4035 | 1178779.5786 | 1066259.7097 | 964480.3738 | 872416.3381 | 789140.2331 | 713813.2109 | 645676.4953 | 584043.7389 | 528294.1093 | 477866.0352 | 432251.55 | 390991.1748 | 353669.2899 | 319909.9486 | 289373.0899 | 261751.1131 | 236765.7796 | 214165.4097 | 193722.3479 | 175230.6692 | 158504.1054 | 143374.168
[7 empty] | 11% |  | 1578378.3784 | 1414852.6905 | 1268268.8532 | 1136871.6297 | 1019087.632 | 913506.481 | 818863.9176 | 734026.6649 | 657978.8573 | 589809.8766 | 528703.4479 | 473927.8655 | 424827.2308 | 380813.5987 | 341359.9376 | 305993.8179 | 274291.7557 | 245874.1414 | 220400.6943 | 197566.3881 | 177097.7984 | 158749.8283 | 142302.774 | 127559.6938 | 114344.0499
[7 empty] | 12% |  | 1564285.7143 | 1389700.2551 | 1234599.7802 | 1096809.6262 | 974397.8375 | 865648.0789 | 769035.5701 | 683205.7073 | 606955.0704 | 539214.5491 | 479034.3539 | 425570.6983 | 378073.9686 | 335878.2132 | 298391.8055 | 265089.1486 | 235503.3061 | 209219.455 | 185869.0694 | 165124.7536 | 146695.6516 | 130323.3691 | 115778.3502 | 102856.6594 | 91377.1215
23 | [6 empty] | Solar LCOE denominator summation | [kWh] 2: [kWh]
[6 empty] | Discount Rate | 6% | 0: 21413318.4318
[7 empty] | 7% | 0: 19562870.4469
[7 empty] | 8% | 0: 17956558.1752
[7 empty] | 9% | 0: 16555308.7427
[7 empty] | 10% | 0: 15327073.3602
[7 empty] | 11% | 0: 14245458.0034
[7 empty] | 12% | 0: 13288638.113
24 | [6 empty] | Solar LCOE | [kWh] 2: [Rs./kWh]
[6 empty] | Discount Rate | 6% | 0: 6.9487
[7 empty] | 7% | 0: 6.9597
[7 empty] | 8% | 0: 6.9731
[7 empty] | 9% | 0: 6.9886
[7 empty] | 10% | 0: 7.0061
[7 empty] | 11% | 0: 7.0254
[7 empty] | 12% | 0: 7.0464
COAL
25 | 6322 | 6322 | 5200 | 5200 | 5200 | 5200 | Calorific Value | [kWh] 2: [kCal/kg]
[7 empty] | Domestic | 0: 5200
[7 empty] | Imported | 0: 6322
26 | [5 empty] | 3.9657 | BTU/kCal | 1: (constant)
27 | [5 empty] | 1250 | Domestic Price without transport | [kWh] 2: [Rs./ton]
28 | 1250 | 1250 | 1250 | 1250 | 1250 | 1250 | Domestic coal transport costs | [kWh] 2: [Rs./ton]
[7 empty] | Hi | 0: 1500
[7 empty] | Med | 0: 1250
[7 empty] | Lo | 0: 1000
29 | [5 empty] | 2500 | Domestic coal price base year | [kWh] 2: [Rs./ton]
30 | [6 empty] | Annual domestic coal cost | [kWh] 2: [Rs./ton]
[7 empty] | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
[8 empty] | 2500 | 2700 | 2916 | 3149.28 | 3401.2224 | 3673.3202 | 3967.1858 | 4284.5607 | 4627.3255 | 4997.5116 | 5397.3125 | 5829.0975 | 6295.4253 | 6799.0593 | 7342.9841 | 7930.4228 | 8564.8566 | 9250.0451 | 9990.0487 | 10789.2526 | 11652.3929 | 12584.5843 | 13591.351 | 14678.6591 | 15852.9518 | 17121.188
31 | 100 | 90 | 90 | 90 | 90 | 90 | Imported Coal base price | [Rs./ton] 2: [$/ton]
[7 empty] | 70 | 0: 80; 1: 90; [Rs./ton] 2: 100
32 | 4% | 3% | 3% | 3% | 3% | 3% | Imported coal escalation rate (annual) | [Rs./ton] 3: nominal US$
2% | bar: 0 to 1
33 | [6 empty] | Annual imported coal price | [Rs./ton] 2: [US$/ton]; [Rs./ton] 3: nominal
[7 empty] | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
[8 empty] | 90 | 92.7 | 95.481 | 98.3454 | 101.2958 | 104.3347 | 107.4647 | 110.6886 | 114.0093 | 117.4296 | 120.9525 | 124.581 | 128.3185 | 132.168 | 136.1331 | 140.2171 | 144.4236 | 148.7563 | 153.219 | 157.8155 | 162.55 | 167.4265 | 172.4493 | 177.6228 | 182.9515 | 188.44
34 | [6 empty] | Annual imported coal price | [US$/ton] 2: [Rs./ton]; nominal 3: nominal
[7 empty] | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
[8 empty] | 5535 | 5701.05 | 5872.0815 | 6048.2439 | 6229.6913 | 6416.582 | 6609.0795 | 6807.3518 | 7011.5724 | 7221.9196 | 7438.5772 | 7661.7345 | 7891.5865 | 8128.3341 | 8372.1841 | 8623.3497 | 8882.0501 | 9148.5116 | 9422.967 | 9705.656 | 9996.8257 | 10296.7305 | 10605.6324 | 10923.8013 | 11251.5154 | 11589.0608
35 | [6 empty] | Rs. / MMBTU coal annual
[7 empty] | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
[7 empty] | Domestic | 121.2329 | 130.9315 | 141.406 | 152.7185 | 164.936 | 178.1309 | 192.3814 | 207.7719 | 224.3936 | 242.3451 | 261.7327 | 282.6713 | 305.285 | 329.7078 | 356.0845 | 384.5712 | 415.3369 | 448.5639 | 484.449 | 523.2049 | 565.0613 | 610.2662 | 659.0875 | 711.8145 | 768.7596 | 830.2604
[7 empty] | Imported | 220.7735 | 227.3967 | 234.2186 | 241.2451 | 248.4825 | 255.937 | 263.6151 | 271.5235 | 279.6692 | 288.0593 | 296.7011 | 305.6021 | 314.7702 | 324.2133 | 333.9397 | 343.9579 | 354.2766 | 364.9049 | 375.8521 | 387.1276 | 398.7415 | 410.7037 | 423.0248 | 435.7156 | 448.787 | 462.2506
36 | 32% | 34% | 34% | 34% | 34% | 34% | Coal plant efficiency (net)
[7 empty] | 30% | 32% | 34% | 36% | 38% | 40%
37 | [5 empty] | 3412.1416 | Coal plant efficiency (net) 30%: BTU/kWh; Coal plant efficiency (net) 38%: constant
38 | [5 empty] | 10035.7107 | Coal plant efficiency (net) 30%: BTU input per kWh
39 | [6 empty] | Coal plant efficiency (net) 30%: Rs./kWh coal (fuel)
[7 empty] | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
[7 empty] | Domestic | 1.2167 | 1.314 | 1.4191 | 1.5326 | 1.6552 | 1.7877 | 1.9307 | 2.0851 | 2.2519 | 2.4321 | 2.6267 | 2.8368 | 3.0638 | 3.3089 | 3.5736 | 3.8594 | 4.1682 | 4.5017 | 4.8618 | 5.2507 | 5.6708 | 6.1245 | 6.6144 | 7.1436 | 7.715 | 8.3323
[7 empty] | Imported | 2.2156 | 2.2821 | 2.3505 | 2.4211 | 2.4937 | 2.5685 | 2.6456 | 2.7249 | 2.8067 | 2.8909 | 2.9776 | 3.0669 | 3.1589 | 3.2537 | 3.3513 | 3.4519 | 3.5554 | 3.6621 | 3.7719 | 3.8851 | 4.0017 | 4.1217 | 4.2454 | 4.3727 | 4.5039 | 4.639
40 | 70% | 70% | 70% | 70% | 70% | 70% | Coal PLF (Plant Load Factor)
[7 empty] | 60% | 0: 70%; 1: 80%
41 | [5 empty] | 6132000 | Annual coal generation | 2: [kWh/MW]
42 | [6 empty] | Nominal Fuel cost total | 2: [Rs.]
[7 empty] | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
[7 empty] | Domestic |  | 8057391.6534 | 8701982.9857 | 9398141.6245 | 10149992.9545 | 10961992.3908 | 11838951.7821 | 12786067.9247 | 13808953.3586 | 14913669.6273 | 16106763.1975 | 17395304.2533 | 18786928.5936 | 20289882.8811 | 21913073.5115 | 23666119.3925 | 25559408.9439 | 27604161.6594 | 29812494.5921 | 32197494.1595 | 34773293.6922 | 37555157.1876 | 40559569.7626 | 43804335.3436 | 47308682.1711 | 51093376.7448
[7 empty] | Imported |  | 13993759.7083 | 14413572.4995 | 14845979.6745 | 15291359.0648 | 15750099.8367 | 16222602.8318 | 16709280.9168 | 17210559.3443 | 17726876.1246 | 18258682.4083 | 18806442.8806 | 19370636.167 | 19951755.252 | 20550307.9096 | 21166817.1469 | 21801821.6613 | 22455876.3111 | 23129552.6004 | 23823439.1784 | 24538142.3538 | 25274286.6244 | 26032515.2231 | 26813490.6798 | 27617895.4002 | 28446432.2622
43 | [6 empty] | LCOE coal denominator discounted annual | [Rs.] 2: [kWh]
[7 empty] | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
[6 empty] | Discount Rate | 6% | 0 | 5784905.6604 | 5457458.1702 | 5148545.4436 | 4857118.343 | 4582187.116 | 4322818.034 | 4078130.2207 | 3847292.6611 | 3629521.3784 | 3424076.772 | 3230261.1057 | 3047416.1375 | 2874920.8844 | 2712189.5136 | 2558669.3524 | 2413839.0117 | 2277206.6148 | 2148308.1272 | 2026705.7804 | 1911986.5853 | 1803760.9295 | 1701661.2542 | 1605340.8059 | 1514472.4584 | 1428747.6022
[7 empty] | 7% |  | 5730841.1215 | 5355926.2818 | 5005538.5811 | 4678073.4403 | 4372031.2526 | 4086010.5164 | 3818701.4172 | 3568879.8292 | 3335401.7095 | 3117197.8594 | 2913269.0274 | 2722681.3341 | 2544561.9945 | 2378095.3219 | 2222518.9924 | 2077120.5537 | 1941234.1623 | 1814237.5349 | 1695549.098 | 1584625.3253 | 1480958.2479 | 1384073.1289 | 1293526.2887 | 1208903.0735 | 1129815.9566
[7 empty] | 8% |  | 5677777.7778 | 5257201.6461 | 4867779.3019 | 4507203.0573 | 4173336.1642 | 3864200.152 | 3577963.1037 | 3312928.7998 | 3067526.6665 | 2840302.4689 | 2629909.6935 | 2435101.568 | 2254723.6741 | 2087707.1056 | 1933062.1349 | 1789872.3471 | 1657289.2103 | 1534527.0465 | 1420858.3764 | 1315609.6078 | 1218157.0443 | 1127923.1891 | 1044373.3233 | 967012.3364 | 895381.7929
[7 empty] | 9% |  | 5625688.0734 | 5161181.7187 | 4735029.0997 | 4344063.3943 | 3985379.2608 | 3656311.2484 | 3354413.9894 | 3077444.027 | 2823343.144 | 2590223.0679 | 2376351.4384 | 2180138.9343 | 2000127.4627 | 1834979.3236 | 1683467.2693 | 1544465.3847 | 1416940.7199 | 1299945.6146 | 1192610.6556 | 1094138.2161 | 1003796.5286 | 920914.2464 | 844875.4554 | 775115.0967 | 711114.7676
[7 empty] | 10% |  | 5574545.4545 | 5067768.595 | 4607062.3591 | 4188238.5083 | 3807489.553 | 3461354.1391 | 3146685.581 | 2860623.2554 | 2600566.5959 | 2364151.4508 | 2149228.5916 | 1953844.1742 | 1776221.9765 | 1614747.2514 | 1467952.0467 | 1334501.8607 | 1213183.5097 | 1102894.0997 | 1002630.9997 | 911482.727 | 828620.6609 | 753291.51 | 684810.4636 | 622554.9669 | 565959.0608
[7 empty] | 11% |  | 5524324.3243 | 4976868.7607 | 4483665.5501 | 4039338.3335 | 3639043.5437 | 3278417.6069 | 2953529.3756 | 2660837.2753 | 2397150.6985 | 2159595.2238 | 1945581.2827 | 1752775.9304 | 1579077.4148 | 1422592.2656 | 1281614.6537 | 1154607.7961 | 1040187.2037 | 937105.5889 | 844239.2693 | 760575.9183 | 685203.53 | 617300.4775 | 556126.5563 | 501014.9156 | 451364.7888
[7 empty] | 12% |  | 5475000 | 4888392.8571 | 4364636.4796 | 3896996.8568 | 3479461.4793 | 3106662.0351 | 2773805.3884 | 2476611.954 | 2211260.6732 | 1974339.8868 | 1762803.4703 | 1573931.6699 | 1405296.1339 | 1254728.691 | 1120293.4741 | 1000262.0304 | 893091.0986 | 797402.7666 | 711966.7559 | 635684.6035 | 567575.5388 | 506763.8739 | 452467.7446 | 403989.0577 | 360704.5158
44 | [6 empty] | LCOE coal denominator sum | [kWh] 2: [kWh]
[6 empty] | Discount Rate | 6% | 0: 78387539.9625
[7 empty] | 7% | 0: 71459772.0491
[7 empty] | 8% | 0: 65457727.5884
[7 empty] | 9% | 0: 60232058.1375
[7 empty] | 10% | 0: 55660409.3918
[7 empty] | 11% | 0: 51642138.2837
[7 empty] | 12% | 0: 48094129.0352
45 | [5 empty] | 0.25 | O&M and Misc. base cost | [kWh] 2: [Rs./kWh]; [kWh] 3: nominal
46 | [6 empty] | O&M and Misc annual cost | [kWh] 2: [Rs./kWh]; [kWh] 3: nominal
[7 empty] | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
[8 empty] | 0.25 | 0.27 | 0.2916 | 0.31493 | 0.34012 | 0.36733 | 0.39672 | 0.42846 | 0.46273 | 0.49975 | 0.53973 | 0.58291 | 0.62954 | 0.67991 | 0.7343 | 0.79304 | 0.85649 | 0.925 | 0.999 | 1.0789 | 1.1652 | 1.2585 | 1.3591 | 1.4679 | 1.5853 | 1.7121
47 | [6 empty] | Nominal O&M yearly total | [Rs./kWh] 2: [Rs.]
[7 empty] | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
[8 empty] | 0 | 1655640 | 1788091.2 | 1931138.496 | 2085629.5757 | 2252479.9417 | 2432678.3371 | 2627292.604 | 2837476.0124 | 3064474.0934 | 3309632.0208 | 3574402.5825 | 3860354.7891 | 4169183.1722 | 4502717.826 | 4862935.2521 | 5251970.0722 | 5672127.678 | 6125897.8923 | 6615969.7236 | 7145247.3015 | 7716867.0856 | 8334216.4525 | 9000953.7687 | 9721030.0702 | 10498712.4758
48 | 12.5% | 12% | 12% | 12% | 12% | 12% | Coal Weighted Avg. Cost of Capital (WACC)
[7 empty] | 11.5% | 0: 12%; 1: 12.5%
49 | 7.5 | 0 | 0 | 7 | 7 | 7 | Coal Capex per MW (loaded) | [Rs.] 2: [Rs. Crore/MW]
[7 empty] | 0 | 0: 6; 1: 6.5; [Rs.] 2: 7; [Rs.] 3: 7.5
50 | [5 empty] | 25 | Years Lifespan
51 | [6 empty] | per MW capital cost recovery (yearly amortization) | [Rs.] 2: [Rs.]
[7 empty] | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
[8 empty] | 0 | 8924997.8867 | 8924997.8867 | 8924997.8867 | 8924997.8867 | 8924997.8867 | 8924997.8867 | 8924997.8867 | 8924997.8867 | 8924997.8867 | 8924997.8867 | 8924997.8867 | 8924997.8867 | 8924997.8867 | 8924997.8867 | 8924997.8867 | 8924997.8867 | 8924997.8867 | 8924997.8867 | 8924997.8867 | 8924997.8867 | 8924997.8867 | 8924997.8867 | 8924997.8867 | 8924997.8867 | 8924997.8867
52 | [6 empty] | LCOE coal numerator discounted annual | [Rs.] 2: [Rs.]
[7 empty] | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Domestic
[6 empty] | Discount Rate | 6% | 0 | 17583046.7359 | 17279345.027 | 17005882.3787 | 16761193.3423 | 16543900.0642 | 16352707.4154 | 16186398.398 | 16043829.8143 | 15923928.1815 | 15825685.8803 | 15748157.5231 | 15690456.5291 | 15651751.8961 | 15631265.1558 | 15628267.5042 | 15642077.096 | 15672056.494 | 15717610.2655 | 15778182.7161 | 15853255.7545 | 15942346.8798 | 16045007.2853 | 16160820.0715 | 16289398.5632 | 16430384.7231
[7 empty] | 7% | 0 | 17418719.1963 | 16957875.8602 | 16533524.1352 | 16143335.9999 | 15785136.2874 | 15456892.6904 | 15156706.4211 | 14882803.4807 | 14633526.5017 | 14407327.123 | 14202758.8638 | 14018470.4641 | 13853199.6611 | 13705767.3723 | 13575072.2594 | 13460085.648 | 13359846.7798 | 13273458.3746 | 13200082.4845 | 13138936.617 | 13089290.1141 | 13050460.7664 | 13021811.6504 | 13002748.1714 | 12992715.3008
[7 empty] | 8% | 0 | 17257434.7593 | 16645294.9866 | 16078498.9007 | 15553687.7101 | 15067751.4224 | 14617810.4154 | 14201198.3718 | 13815446.4796 | 13458268.8017 | 13127548.7295 | 12821326.4404 | 12537787.2839 | 12275251.0278 | 12032161.9019 | 11807079.3778 | 11598669.6333 | 11405697.6477 | 11227019.8832 | 11061577.5087 | 10908390.1249 | 10766549.9547 | 10635216.4638 | 10513611.3796 | 10401014.0794 | 10296757.32
[7 empty] | 9% | 0 | 17099109.6698 | 16341277.7311 | 15640018.8777 | 14990716.9851 | 14389136.5715 | 13831391.3736 | 13313915.5165 | 12833437.0637 | 12386953.7523 | 11971710.73 | 11585180.1319 | 11225042.342 | 10889168.8034 | 10575606.2468 | 10282562.2212 | 10008391.82 | 9751585.5024 | 9510757.9206 | 9284637.6694 | 9072057.8821 | 8871947.6033 | 8683323.8729 | 8505284.4652 | 8337001.2262 | 8177713.9615
[7 empty] | 10% | 0 | 16943663.2182 | 16045514.1094 | 15217338.8484 | 14452988.4686 | 13746869.1403 | 13093891.7744 | 12489426.2053 | 11929259.5382 | 11409558.2824 | 10926833.9247 | 10477911.632 | 10059901.7978 | 9670174.1742 | 9306334.3546 | 8966202.3926 | 8647793.3648 | 8349299.698 | 8069075.1034 | 7805619.9691 | 7557568.0808 | 7323674.5472 | 7102804.8238 | 6893924.7322 | 6696091.3863 | 6508444.9431
[7 empty] | 11% | 0 | 16791017.6036 | 15757708.0369 | 14809753.5133 | 13939156.1007 | 13138698.0041 | 12401864.5915 | 11722775.038 | 11096119.8353 | 10517104.4839 | 9981398.7584 | 9485090.9917 | 9024646.8814 | 8596872.3713 | 8198880.2037 | 7828059.7787 | 7482049.9935 | 7158714.7667 | 6856120.9807 | 6572518.6042 | 6306322.7776 | 6056097.6677 | 5820541.9165 | 5598475.5261 | 5388828.0374 | 5190627.8748
[7 empty] | 12% | 0 | 16641097.8036 | 15477576.5883 | 14416595.0192 | 13447956.8251 | 12562529.9738 | 11752133.6541 | 11009437.3318 | 10327870.5849 | 9701542.5671 | 9125170.0675 | 8594013.2468 | 8103818.2293 | 7650765.8167 | 7231425.6688 | 6842715.3666 | 6481863.836 | 6146378.6642 | 5834016.8951 | 5542758.9298 | 5270785.201 | 5016455.3253 | 4778289.4681 | 4554951.6848 | 4345235.0283 | 4148048.2321
Imported
[6 empty] | Discount Rate | 6% | 0 | 23183393.9575 | 22362639.3612 | 21579992.2564 | 20833636.8587 | 20121852.4857 | 19443008.4285 | 18795559.1067 | 18178039.4921 | 17589060.7848 | 17027306.328 | 16491527.7485 | 15980541.3104 | 15493224.4691 | 15028512.6158 | 14585396.0009 | 14162916.8265 | 13760166.4989 | 13376283.0322 | 13010448.5943 | 12661887.1868 | 12329862.4535 | 12013675.6075 | 11712663.4725 | 11426196.631 | 11153677.6736
[7 empty] | 7% | 0 | 22966726.7243 | 21946599.3416 | 20980582.7691 | 20065659.5889 | 19198990.7222 | 18377904.4794 | 17599886.2993 | 16862569.1345 | 16163724.4405 | 15501253.7306 | 14873180.6603 | 14277643.6074 | 13712888.7162 | 13177263.3764 | 12669210.1086 | 12187260.8312 | 11730031.4837 | 11296216.9844 | 10884586.5011 | 10493979.0145 | 10123299.1565 | 9771513.3056 | 9437645.9232 | 9120776.1154 | 8820034.4065
[7 empty] | 8% | 0 | 22754071.8472 | 21542062.4024 | 20403168.3886 | 19332745.2853 | 18326456.8957 | 17380254.1618 | 16490355.4713 | 15653228.351 | 14865572.4462 | 14124303.6948 | 13426539.6098 | 12769585.5923 | 12150922.2004 | 11568193.3059 | 11019195.0767 | 10501865.7245 | 10014275.9649 | 9554620.1381 | 9121207.945 | 8712456.7527 | 8326884.4318 | 7963102.6861 | 7619810.8403 | 7295790.0546 | 6989897.9339
[7 empty] | 9% | 0 | 22545318.8945 | 21148608.3547 | 19846749.422 | 18632990.3569 | 17501077.8815 | 16445219.267 | 15460047.373 | 14540588.4046 | 13682232.1731 | 12880704.6602 | 12132042.7063 | 11432570.6536 | 10778878.7909 | 10167803.4577 | 9596408.678 | 9061969.2029 | 8561954.8521 | 8094016.0526 | 7655970.4807 | 7245790.7217 | 6861592.8676 | 6501625.9793 | 6164262.348 | 5847988.491 | 5551396.8279
[7 empty] | 10% | 0 | 22340361.45 | 20765836.0217 | 19310380.2083 | 17964610.7008 | 16719907.1506 | 15568348.5105 | 14502654.8017 | 13516133.8351 | 12602632.4579 | 11756491.9358 | 10972507.1122 | 10245889.0192 | 9572230.6443 | 8947475.5793 | 8367889.3061 | 7830032.8918 | 7330738.8879 | 6867089.2437 | 6436395.0641 | 6036178.0525 | 5664153.4965 | 5318214.6658 | 4996418.5007 | 4696972.4844 | 4418222.5964
[7 empty] | 11% | 0 | 22139096.9324 | 20393362.2159 | 18793165.7422 | 17325933.2069 | 15980206.7268 | 14745543.4538 | 13612423.5734 | 12572166.8024 | 11616856.5908 | 10739271.3041 | 9932821.7322 | 9191494.3349 | 8509799.6867 | 7882725.6367 | 7305694.7458 | 6774525.6016 | 6285397.6532 | 5834819.2373 | 5419598.5034 | 5036816.9674 | 4683805.4529 | 4358122.1997 | 4057532.9412 | 3779992.7681 | 3523629.6176
[7 empty] | 12% | 0 | 21941426.4241 | 20030820.7798 | 18294258.5365 | 16715387.9359 | 15279430.7266 | 13973027.7003 | 12784099.6504 | 11701722.1907 | 10716013.0324 | 9818030.4607 | 8999681.8817 | 8253641.425 | 7573275.6911 | 6952576.8266 | 6386102.1906 | 5868919.9539 | 5396560.0377 | 4964969.8577 | 4570474.3964 | 4209740.1716 | 3879742.7149 | 3577737.2118 | 3301231.9908 | 3047964.5795 | 2815880.0743
53 | [6 empty] | LCOE coal numerator sum | [Rs.] 2: [Rs.]
Domestic
[6 empty] | Discount Rate | 6% | 0: 403386955.6951
[7 empty] | 7% | 0: 358320552.2238
[7 empty] | 8% | 0: 320111050.6039
[7 empty] | 9% | 0: 287557929.9399
[7 empty] | 10% | 0: 259690164.5098
[7 empty] | 11% | 0: 235719444.3379
[7 empty] | 12% | 0: 215003432.0082
Imported
[6 empty] | Discount Rate | 6% | 0: 402301469.181
[7 empty] | 7% | 0: 362239427.4211
[7 empty] | 8% | 0: 327906567.2013
[7 empty] | 9% | 0: 298337808.8978
[7 empty] | 10% | 0: 272747764.6171
[7 empty] | 11% | 0: 250494803.6273
[7 empty] | 12% | 0: 231052716.4411
54 | [6 empty] | Coal LCOE | [Rs.] 2: [Rs./kWh]
Domestic
[6 empty] | Discount Rate | 6% | 0: 5.1461
[7 empty] | 7% | 0: 5.0143
[7 empty] | 8% | 0: 4.8903
[7 empty] | 9% | 0: 4.7742
[7 empty] | 10% | 0: 4.6656
[7 empty] | 11% | 0: 4.5645
[7 empty] | 12% | 0: 4.4705
Imported
[6 empty] | Discount Rate | 6% | 0: 5.1322
[7 empty] | 7% | 0: 5.0691
[7 empty] | 8% | 0: 5.0094
[7 empty] | 9% | 0: 4.9531
[7 empty] | 10% | 0: 4.9002
[7 empty] | 11% | 0: 4.8506
[7 empty] | 12% | 0: 4.8042
Note on C7: Rahul Tongia: This scenario is extremely favorable to solar, and loads all reasonable costs for coal (capex + opex). Assumes no ancillary services costs for solar (due to an absence of such pricing in an explicit manner). Solar bids are Open Category, and for the (outlier) single cheapest VGF seen in the bids. Coal's PLF is 70%, capex is 7.5 cr./MW, and weighted avg. cost of capital (WACC) is 12.5%. Imported coal's base year price is $100/ton, escalating at 4% annually in US$ terms (which is quite high). The Rupee depreciates further by 1%/year over the life, and "Domestic Escalation" which covers coal's O&M only (since coal is imported) is 9% annually. The coal plant is of modest/low efficiency of 32% net (domestic transport range is not applicable so set at medium, given coal is imported).
Note on C8: Rahul Tongia: This scenario is moderate, comparing imported coal, but against only the marginal costs of coal (treating the capex as a sunk cost, due to solar not being available much of the time, including the peak). Assumes Rs. 0.30/kWh ancillary services costs for solar. Solar bids are in the domestic Category, weighted average of the bids. Coal's PLF is 70%, capex is set as zero (marginal costs only), and the weighted avg. cost of capital (WACC) is 12%. Imported coal's base year price is $90/ton, escalating at 3% annually in US$ terms. The Rupee holds steady on average over the life of the plants, and "Domestic Escalation" which covers coal O&M only (since coal is imported) is 8% annually. The coal plant is of modest efficiency of 34% net (domestic transport range is not applicable so set at medium, given coal is imported).
Note on C9: Rahul Tongia: This scenario is moderate, comparing Domestic coal, but against only the marginal costs of coal (treating the capex as a sunk cost, due to solar not being available much of the time, including the peak). Assumes Rs. 0.30/kWh ancillary services costs for solar. Solar bids are in the domestic Category, weighted average of the bids. Coal's PLF is 70%, capex is set as zero (marginal costs only), and the weighted avg. cost of capital (WACC) is 12%. Dummy variables are used for the Imported coal's base year price since the fuel is domestic, and is set at $90/ton, escalating at 3% annually in US$ terms. The Rupee holds steady on average over the life of the plants, and "Domestic Escalation" which covers O&M and domestic fuel (plus solar's ancillary services) is 8% annually. The coal plant is of modest efficiency of 34% net. The domestic transport range set at medium.
Note on C10: Rahul Tongia: This scenario is realistic, comparing Domestic coal against the full costs of coal including capex at Rs. 7 Cr./MW fully loaded. Assumes Rs. 0.30/kWh ancillary services costs for solar. Solar bids are in the open Category, weighted average of the bids. Coal's PLF is 70%, and the weighted avg. cost of capital (WACC) is 12%. Dummy variables are used for the Imported coal's base year price since the fuel is domestic, and is set at $90/ton, escalating at 3% annually in US$ terms. The Rupee holds steady on average over the life of the plants, and "Domestic Escalation" which covers O&M and domestic fuel (plus solar's ancillary services) is 8% annually. The coal plant is of modest efficiency of 34% net. The domestic transport range set at medium.
Note on C11: Rahul Tongia: Can change the values in Column F as desired
Note on H30: Rahul Tongia: (Rupees per US$; positive means rupee depreciates in value); 0 means constant; assume long term there is an organic change (on average - ignoring spikes/jumps)
Note on H37: Rahul Tongia: used in NPV calculations and levelization; different from interest rates
Note on H47: Rahul Tongia: Gives future value (FV) based on today's nominal base and an discount rate; MUST DO 1/VALUE TO GET PV (delfator)
Note on H57: Rahul Tongia: applies to domestic fuel, O&M, and ancillary services costs; is similar to wholesale inflation in some ways
Note on H60: Rahul Tongia: Assumed to be 20%; can be manually varied if desired
Note on H72: Rahul Tongia: Nominal Year 1 burden (based on US data for large-renewables systems); 0 means you aren't calculating/assuming any
Note on H75: Rahul Tongia: Cost of ancillary services - not paid by the utility directly as of now (zero means not being calculated/valued)
Note on H79: Rahul Tongia: what utilities pay in JNNSM Phase 2 round 1
Note on H81: Rahul Tongia: Is paid to SECI or any other entity/Special Purpose Vehicle
Note on H87: Rahul Tongia: As per reported bids; the med is the weighted average, calculated from the below: http://seci.gov.in/upload/uploadfiles/files/Final%20allocation%20list_750%20MW(1).pdf
Note on H93: Rahul Tongia: Prescribed schedule for outflow (front heavy)
Note on H101: Rahul Tongia: Combines VGF plus generation outlay plus ancillary services value
Note on H105: Rahul Tongia: Per year numerator for standard LCOE formula; 1/INFLATOR becomes deflator (annually)
Note on H124: Rahul Tongia: Per year denominator for standard LCOE formula; 1/INFLATOR becomes deflator
Note on H208: Rahul Tongia: assumes year 1 is first year of generation, despite fact that year zero is now (since capital costs factor in interest during construction)
Note on H232: Rahul Tongia: This is conservative, and higher than based on CERC guidelines 2009-14
Note on H242: Rahul Tongia: Weighted avg. cost of capital, for 15.5% equity returns, and debt about 10 to 10.5%, 70:30 d:e ratio. It doesn't separate "depreciation" as a line item but uses a total amortization calculation (for fixed costs). The higher up-front capital costs used compensates for the difference in accounting (re. depreciation). Note, WACC for solar is actually likely to be higher, for various reasons, but not an explicit variable given it is embedden in VGF bids under JNNSM (reverse subsidy auction).
Note on H245: Rahul Tongia: Includes Interest During Construction, working capital, etc. - Rs. Crore ; zero represents examining ONLY the variable costs, treating the capacity as a sunk cost (if solar is deemed a "negative demand" due to its non-dispatchability). Also includes land, grid interconnection costs, etc.
Note on H248: Rahul Tongia: Taken same as the PV systems (accounting life for coal - actual lifespan can be longer, plus financing can be front heavy as well)
Note on H250: Rahul Tongia: Amortization based on lifespan and WACC (equivalent to an EMI calcuation, but annually)

## Notes
Coal vs. Solar LCOE comparison for India in 2014
There is an identical model in the .ana (analytica) modeling environment also released, allowing more flexibility in manipulation
The model is released under creative commons by Brookings India (Dr. Rahul Tongia, author)
This simple LCOE (levelized cost of energy) model compared 2014 solar photovoltaic (PV) with coal-based power in India.
The LCOE model is a typical one, with discounting of cash flows in the numerator and of generation in the denominator. Importantly, levelizing or discounting rate is NOT the same as cost of capital.
The former is an accounting or social choice, the latter determined by contracts or the market.
Other assumptions and numbers are based on CERC/CEA data for coal (unless otherwise stated) and JNNSM Phase 2 round 1 bids for Solar PV.
These are national numbers and do not include any state-specific incentives or tax implications. The actual numbers are varied across a wide range to show sensitvity analysis.
For both coal and solar, are normalizing to a 1 MW capacity size. Costs are for plants installed today (2014), over their lifespan.
Rates of change (inflation, forex, etc.) are annual over the lifespan.